## Sheet1
Type | Part Number | Code | Product Description | Quantity | Warranty
Resi on-grid | ASW5000-S-G2 | SA5000-12-03-3GP | 5kW, 1P, 2MPPT, w/WIFI Stick, 16A*2, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW6000-S-G2 | SA6000-12-03-3GP | 6kW, 1P, 2MPPT, w/WIFI Stick, 16A*2, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW8000-S | AP8000-12-04-3GP-S | 8kW, 1P, 3MPPT, w/Wi-Fi Stick, 16A*3, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Artila, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW6K-LT-G2 Pro | SP0006-12-03-3GP | 6kW, 3P, 2MPPT, w/WIFI Stick, 16A*2, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW8K-LT-G2 Pro | SP0008-12-03-3GP | 8kW, 3P, 2MPPT, w/WIFI Stick, 20A+16A, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW10K-LT-G2 Pro | SP0010-12-03-3GP | 10kW, 3P, 2MPPT, w/WIFI Stick, 20A+16A, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW12K-LT-G2 Pro | SP0012-12-03-3GP | 12kW, 3P, 2MPPT, w/WIFI Stick, 20A+32A, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW15K-LT-G2 Pro | SP0015-12-03-3GP | 15kW, 3P, 2MPPT, w/WIFI Stick, 20A+32A, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW17K-LT-G2 Pro | SP0017-12-03-3GP | 17kW, 3P, 2MPPT, w/WIFI Stick, 32A*2, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW20K-LT-G2 Pro | SP0020-12-03-3GP | 20kW, 3P, 2MPPT, w/WIFI Stick, 32A*2, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/Vaconn, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW25K-LT-G3 | TA0025-12-04-3GP | 25kW, 3P, 3MPPT, w/Wifi Stick, 32A*3, DC w/MOV, AC w/MOV, DC w/Sunclix, AC w/Artila, w/SPS, w/Smart meter interface, w/AFCI | 10 | 10 years
Resi on-grid | ASW30K-LT-G3 | TA0030-12-04-3GP | 30kW, 3P, 3MPPT, w/Wifi Stick, 32A*3, DC w/MOV, AC w/MOV, DC w/Sunclix, AC w/Artila, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
Resi on-grid | ASW40K-LT-G3 | TA0040-12-04-3GP | 40kW, 3P, 3MPPT, w/Wifi Stick, 32A*2+40A, DC w/MOV, AC w/MOV, DC w/Sunclix, AC w/Artila, w/SPS, w/Smart meter interface, w/AFCI | 5 | 10 years
C&I | ASW50K-LT-G3 | SC0050-12-00-3GP | 50kW, 3P, 5MPPT, w/WIFI Stick, 40A*2+32A*3, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/OT, w/SPS, w/Smart meter interface, w/AFCI | 10 | 10 years
C&I | ASW60K-LT-G3 | SC0060-12-00-3GP | 60kW, 3P, 5MPPT, w/WIFI Stick, 40A*2+32A*3, DC w/MOV, AC w/MOV, DC w/SUNCLIX, AC w/OT, w/SPS, w/Smart meter interface, w/AFCI | 10 | 10 years
C&I | ASW80K-LT | AQ0080-12-00-3GP | 80kW, 3P, 8MPPT, w/WIFI Stick, 32A*8, DC w/MOV, AC w/MOV, DC w/Sunclix, AC w/OT, w/SPS, w/Smart meter interface, w/AFCI | 15 | 10 years
C&I | ASW100K-LT | AQ0100-12-00-3GP | 100kW, 3P, 10MPPT, w/WIFI Stick, 32A*10, DC w/MOV, AC w/MOV, DC w/Sunclix, AC w/OT, w/SPS, w/Smart meter interface, w/AFCI | 15 | 10 years
C&I | ASW110K-LT | AQ0110-12-00-3GP | 110kW, 3P, 10MPPT, w/WIFI Stick, 32A*10, DC w/MOV, AC w/MOV, DC w/Sunclix, AC w/OT, w/SPS, w/Smart meter interface, w/AFCI | 40 | 10 years
C&I | ASW150K-LT | MO0150-12-10-AJ-16P | 150kW,3P,8MPPT,w/AI dongle LAN/WLAN,48A*8,DC w/MOV,AC w/MOV,DC w/Amphenol,AC w/OT,w/24H/7 monitoring,w/Smart meter interface,w/RS485*2,w/AFCI | 50 | 10 years
1P hybrid | ASW6000H-S2 | PB6000-12-03-36P | 6kW,1P,2MPPT,w/Wi-Fi Stick,16A*2,DC w/Sunclix,AC w/Vaconn,w/AFCI | 30 | 10 years
1P hybrid | ASW008K-SH | AL8000-12-77-AC-28P | 8kW, 1P, 3MPPT, w/Ai-Dongle LAN/WLAN, 3*20A, DC w/MOV, AC w/MOV, DC Push in, AC Push in?? w/AFCI | 30 | 10 years
1P hybrid | ASW010K-SH | AL010k-12-77-AC-28P | 10kW, 1P, 3MPPT, w/Ai-Dongle LAN/WLAN, 3*20A, DC w/MOV, AC w/MOV, DC Push in, AC Push in, w/AFCI | 30 | 10 years
3P hybrid | ASW10kH-T2-DG | EP010k-12-03-A2-08P | 10kW,3P,2MPPT,w/AI dongle LAN/WLAN,20A*2,DC w/SPD,AC w/MOV,DC PV Pot w/Sunclix,DC Bat Pot w/MC4,AC Grid Pot w/Vaconn,AC EPS Pot w/Vaconn,AC GEN Pot w/Vaconn,w/AFCI,w/three-phase four-wire,w/Modbus TCP,Morandi Blue | 30 | 10 years
3P hybrid | ASW12kH-T2-DG | EP012k-12-03-A2-08P | 12kW,3P,2MPPT,w/AI dongle LAN/WLAN,20A*2,DC w/SPD,AC w/MOV,DC PV Pot w/Sunclix,DC Bat Pot w/MC4,AC Grid Pot w/Vaconn,AC EPS Pot w/Vaconn,AC GEN Pot w/Vaconn,w/AFCI,w/three-phase four-wire,w/Modbus TCP,Morandi Blue | 30 | 10 years
3P hybrid | ASW15kH-T3-DG | EP015k-12-03-A3-08P | 15kW,3P,3MPPT,w/AI dongle LAN/WLAN,16A*3,DC w/SPD,AC w/MOV,DC PV Pot w/Sunclix,DC Bat Pot w/MC4,AC Grid Pot w/Vaconn,AC EPS Pot w/Vaconn,AC GEN Pot w/Vaconn,w/AFCI,w/three-phase four-wire,w/Modbus TCP,Morandi Blue | 15 | 10 years
3P hybrid | ASW020K-TH | UR020k-12-06-A7-05P | 20kW, 3P, 4 MPPT, w/Ai-Dongle LAN/WLAN, 4*20A, DC w/SPD, AC w/MOV, DC w/Sunclix, AC Grid w/CNNT, AC EPS w/Handa, w/AFCI,Morandi Blue | 5 | 10 years
3P hybrid | ASW030K-TH | UR030k-12-06-A7-05P | 30kW, 3P, 4 MPPT, w/Ai-Dongle LAN/WLAN, 4*40A, DC w/SPD, AC w/MOV, DC w/Sunclix, AC Grid w/CNNT, AC EPS w/Handa,w/AFCI, Morandi Blue | 5 | 10 years
Accessories | ASW-LB-G3-BS | LBB00000000-00-02-60-5P | 5.12kWh Low Voltage Battery base w/output cable and feet | 10 | 10 years
Accessories | Ai-Logger 2000 | BC6300-90-00P | Ai-Logger 2000, Northbound interface WAN/Fiber, Pointing to Singapore Server, for utility inverter | 10 | 2 years
Accessories | Ai-Logger 1000 | BC5309-40-02P | Ai-Logger 1000, Southbound interface RS485/LAN, Northbound interface WLAN/LAN, pointing to Singapore Server, Manage multiple devices, made by AiSWEI | 10 | 2 years
Accessories | Smart meter | 282-000025-00 | Smart Meter, SDM630MCT V2, 3x230/400V, Modbus,9600bps, incl. 3pcs ESCT-T24 250A/1A, with PV mode for phase-balanced energy flow calculation | 10 | 2 years
Accessories | Smart meter | 282-000015-00 | 3P -25℃~+55℃ CHNT DTSU666 100A/40mA | 5 | 2 years
Accessories | Smart meter | 282-00013-00 | Smart Meter, 1p (L1, N), max. 100A, Modbus, direct connected AC wires. | 5 | 2 years
Accessories | Smart meter | 282-000016-00 | 1P -25℃~+55℃ CHNT DDSU666 100A/40mA | 5 | 2 years
EV Charger
EV Charger
Accessories
| TOTAL |  |  | 440